## Sheet1
Site/ Sol Id* | Bank Name | Address | Pin code | city | State | Branch | AMC Start Date | UPS Cap | Qty | Amc Expiry Date
SSKM1001 | SSKM | Ronald Ross, 1st floor, seminar | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1002 | SSKM | Cardiology, 2nd floor, VIP Cabiv | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1003 | SSKM | 33 KV Sub Station,2 nd floor, 33 KV control room | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1004 | SSKM | Trauma Care Centre,Control Room,1st floor TCC Sub Station | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1005 | SSKM | Auditorium,ground floor, lobby | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1006 | SSKM | Auditorium, 2nd floor, lobby | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1007 | SSKM | Academic Building, LT5 | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 6 KVA ( Numeric) | 1 | 30/11/24
SSKM1008 | SSKM | Ronald Ross,3rd floor, srver room | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1009 | SSKM | Academic Building, gr floor, EM Machine | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1010 | SSKM | Gynae & Maternity , 1st floor, Labour Room | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1011 | SSKM | Chest & Cancer ,2st floor, RICU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1012 | SSKM | Wood Burn, 2nd floor, OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1013 | SSKM | Academic Building, 2nd floor, Nephrology Lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1014 | SSKM | Cardiology,1st floor, Central Ticket Counter | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1015 | SSKM | Cardiology,1st floor, Eco Room | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Numeric) | 1 | 30/11/24
SSKM1016 | SSKM | SDLD, 4th floor,OT & PCU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1017 | SSKM | SDLD, 3rd floor,ERCP & ITU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1018 | SSKM | Ronald Ross,4th floor, 5A, Lab at 4th floor | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1019 | SSKM | Rheumatology, 1st floor, Lab at 1st floor | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1020 | SSKM | Trauma Care Centre, Gr floor, Triage 1& 2 | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1021 | SSKM | Trauma Care Centre, 1st floor, Step Down | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1022 | SSKM | Academic Bldg, 8th floor, Comference room | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1023 | SSKM | Academic Bldg, 8th floor, Telemedicine | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1024 | SSKM | Animal House, Gr floor,Research Lab(Modular) | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 20KVA3/3(numeric) | 1 | 30/11/24
SSKM1025 | SSKM | CTVS, 3rd floor, Recovery & Stepdown | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1026 | SSKM | CTVS,3rd floorRecovery & Stepdown | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1027 | SSKM | Ronald Ross, 3rd floor, Stepdown | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1028 | SSKM | Rheumatology , 1st floo,Lab at 4th floor | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1029 | SSKM | Neonatology,2nd floor, NICU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1030 | SSKM | Neonatology,2nd floor, NICU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1031 | SSKM | Trauma Care Centre, 6th floor, CCU 1 | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1032 | SSKM | Trauma Care Centre, 6th floor, CCU 1 | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1033 | SSKM | Trauma Care Centre, 7th floor, CCU 2 | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1034 | SSKM | Trauma Care Centre, 7th floor, CCU 2 | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1035 | SSKM | Trauma Care Center, 9th floor, Step down | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1036 | SSKM | Trauma Care Center, 9th floor, Step down | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 30KVa 3/3 (Numeric) | 1 | 30/11/24
SSKM1037 | SSKM | SDLD, 1st floor, Recearch lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1038 | SSKM | CTVS,3rd floor, OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1039 | SSKM | Chest & Cancer, 6th floor,ENT OT and Nephro OT &Dialysis | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1040 | SSKM | Chest & Cancer, 6th floor,ENT OT and Nephro OT &Dialysis | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1041 | SSKM | Wood Burn, 1st floor, cabins | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1042 | SSKM | Trauma Care Centre,8 th floor, OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1043 | SSKM | Trauma Care Centre,8 th floor, OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1044 | SSKM | Urology & Nephrology,7th floor,Urology OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1045 | SSKM | Urology & Nephrology,7th floor,Urology Laser M/c, Urodynamic Lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1046 | SSKM | Urology & Nephrology,6 th floor,Urology OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1047 | SSKM | Gamma Knife,1st floor, Gamma Knife | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1048 | SSKM | Gamma Knife,1st floor, Gamma Knife | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (numeric) | 1 | 30/11/24
SSKM1049 | SSKM | Gynae & Maternity ,2nd floor Gynae OT | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Consul) | 1 | 30/11/24
SSKM1050 | SSKM | Main Building, 3rd floor,CCU Main Building | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Consul) | 1 | 30/11/24
SSKM1051 | SSKM | Main Building, 3rd floor,CCU Main Building | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(Consul) | 1 | 30/11/24
SSKM1052 | SSKM | Ronald Ross,4th floor,Molecular Biology lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA 3/1(AVO) | 1 | 30/11/24
SSKM1053 | SSKM | Chest & Cancer, 3rd floor,ENT ICU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA3/1(Consul) | 1 | 30/11/24
SSKM1054 | SSKM | Police Hospital, 1st floor, Main Building | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 10KVA3/1(Delta) | 1 | 30/11/24
SSKM1055 | SSKM | Ronald Ross,1st floor,Biochemistry Lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3 (Consu) | 1 | 30/11/24
SSKM1056 | SSKM | Ronald Ross, 2nd floor,Ronald Ross | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3(consl) | 1 | 30/11/24
SSKM1057 | SSKM | UCM, 4th floor, VRDL Lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3(consl) | 1 | 30/11/24
SSKM1058 | SSKM | Cardiology,Gr floor, ICCU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3(consl) | 1 | 30/11/24
SSKM1059 | SSKM | Cardiology,Gr floor, ICCU | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3(consl) | 1 | 30/11/24
SSKM1060 | SSKM | Emergency Building,3 rd floor, Histopathology Lab | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3(consl) | 1 | 30/11/24
SSKM1061 | SSKM | PoliceHospital,1st floo, Main building | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 40KVA3/3(Delta) | 1 | 30/11/24
SSKM1062 | SSKM | OPD Building, 2nd floor, OT at 4th Floor | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 60KVA3/3(consl) | 1 | 30/11/24
SSKM1063 | SSKM | Neonatology Bldg, 8th floor,4th to 8th floor | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 60KVA3/3(consl) | 1 | 30/11/24
SSKM1064 | SSKM | Neonatology Bldg, 8th floor,4th to 8th floor | 700020 | Kolkata | West Bengal | West Bengal | 2023-01-12 | 60KVA3/3(consl) | 1
64