## Sheet1
S NO. | State | Location | UPS Model And Capacity | UPS Serial No. | Battery Specification | No. of Battery | AMC/Warranty Vendor
1 | WB | ACROPOLISH | AVO 6KVA 192V | 501101244110K9100019 | Exide 12V/26 AH | 16 | Switching AVO Electro Power Limited
2 | WB | SANKRAIL | AVO 20 KVA | YM212AMB1 | Exide 12V/100AH | 32 | Switching AVO Electro Power Limited
3 | WB | Rash Behari | Eaton 10 KVA | 120522-60650036 | Exide 7 AH | 20 | Switching AVO Electro Power Limited
4 | WB | Siliguri | CVA/42KV | 110314-15340620 | Exide 12 V 7 AH | 20 | Switching AVO Electro Power Limited
5 | WB | Asansol | Eaton 10 KVA | 7J425A2018 | Rocket 18 AH/12 V | 20 | Switching AVO Electro Power Limited
6 | WB | Durgapur | AVO 10 KVA 240V | 900121812240201 | Exide 12V/26AH | 20 | Switching AVO Electro Power Limited
7 | WB | Raigunj | Eaton 12 KVA | 900121/809010087 | Exide 12V/26AH | 20 | Switching AVO Electro Power Limited
8 | WB | Cooch Behar | Eaton 10 KVA | 14011733160003 | Exide 12V/26AH | 20 | Switching AVO Electro Power Limited
9 | WB | Govindpur | AVO 10 KVA 240V | 501201130250K9400008 | Exide 12V/42AH | 22 | Switching AVO Electro Power Limited
10 | JKND | Ranchi | Eaton 120522 | 60650035 | Exide 12V/18 AH | 20 | Switching AVO Electro Power Limited
11 | JKND | Bagroy | Eaton ZI461 | A2006 | Exide 12V/26AH | 24 | Switching AVO Electro Power Limited
12 | JKND | Hinoo | 10KVAH/AVO 240V | 900101603080042 | Exide 12V/26AH | 20 | Switching AVO Electro Power Limited
13 | JKND | Gamariya | 10 KVA(240 Watt) | 2K304A2049 | ReliCell7AH | 20 | Switching AVO Electro Power Limited
14 | JKND | Bistupur | 10 KVA(240 Watt) | 120522/60650046 | Rocket 17 AH | 20 | Switching AVO Electro Power Limited
15 | JKND | Jamshedpur | 10KVA20152 | 800039462 | Rocket26 AH 12 V | 30 | Switching AVO Electro Power Limited
16 | JKND | Mango | AVO 12 KVA 240V | 900121903090010 | Exide 12V/26AH | 20 | Switching AVO Electro Power Limited
17 | JKND | SNAP | 10 KVA3 PH | 201531/000406 | 26 AH/12VRocket | 30 | Switching AVO Electro Power Limited
18 | JKND | Bank More | Eaton 10 KVA | 120814-34620024 | Rocket 18 AH/12 V | 20 | Switching AVO Electro Power Limited
19 | JKND | Hirapur | ETON DX10000HXL31/10KVA | 121123-48530010 | Rocket 18 AH/12 V | 20 | Switching AVO Electro Power Limited
20 | JKND | Dhanbad | Eaton 10 KVA | 12112-48530010 | Rocket 18 AH/12 V | 20 | Switching AVO Electro Power Limited
21 | JKND | Daltonganj | 914510 KIN-XL | ZK284A2018 | Rocket26 AH 12 V | 20 | Switching AVO Electro Power Limited
22 | JKND | Chas | 10KVA | ZK195A2035 | Rocket 18 AH/12 V | 24 | Switching AVO Electro Power Limited
23 | JKND | Deogarh | 9145 10KINXL31 | ZK182A2008 | Rocket 18 AH/12 V | 24 | Switching AVO Electro Power Limited
24 | JKND | Ramgarh | Eaton 10 KVA 9145 | ZK19SA2001 | Rocket26 AH 12 V | 24 | Switching AVO Electro Power Limited
25 | JKND | Jhumritalaiya | Eaton 10 KVA | 914510MIN-XL | Rocket 26ah 12 V | 20 | Switching AVO Electro Power Limited
26 | UP | Allahabad | 10KVA |  | Exide 12V/18 AH | 20 | Switching AVO Electro Power Limited
27 | UP | Varanasi | OLS1000EXL/10KVA | 18X4S000072 | Rocket 26ah 12 V | 20 | Switching AVO Electro Power Limited
28 | ODI | Bhubaneswar | ETON DX10000HXL31/10KVA | 120522-60650016 | CHLORIDE SAFE POWER | 20 | Switching AVO Electro Power Limited